30 mm screws for plastic – head and neck attachment, quantity of 4 needed

https://www.mcmaster.com/90380A395/

20mm screws for plastic – ear tabs, quantity of 4 needed

https://www.mcmaster.com/90380A393/

6-32 screws for molds, quantity of 12 needed

These screws are too long.  This is what I had on hand, so that is what I used.  You can let them stick out, or you can cut them off.

https://www.mcmaster.com/90272A157/

6-32 nuts for molds, quantity of 12 needed

https://www.mcmaster.com/90480A007/

Suction cups for bottom, quantity of 4 needed

https://www.mcmaster.com/53535A22/

Nuts for suction cups, quantity of 4 needed

https://www.mcmaster.com/90480A009/

2-part silicone rubber

https://letsresin.com/products/15a-liquid-silicone-rubber?_pos=1&_sid=cb6ab1676&_ss=r&variant=44807832600810

colorant for silicone rubber

https://letsresin.com/products/silicone-dye-for-taba-squishy?_pos=1&_sid=24d23776e&_ss=r

Tripod Platform

55 mm screws for mounting, quantity of 4 needed

https://www.mcmaster.com/91239A450/

Knob for tightening on the tripod stand

https://www.mcmaster.com/5993K392/

Nut for the knob

https://www.mcmaster.com/96887A331/